Story Response - Maximum Story Displacement

# Summary Description

This is story response output for a specified range of stories and a selected load case or load combination.

# Input Data

| Name | StoryResp2 |  |  |
| --- | --- | --- | --- |
| Display Type | Max story displ | Story Range | All Stories |
| Load Case | Response Spectrum | Top Story | Story 3 |
| Output Type | Not Applicable | Bottom Story | Base |

# Plot

# Tabulated Plot Coordinates

Story Response Values

| Story | Elevation | Location | X-Dir | Y-Dir |
| --- | --- | --- | --- | --- |
|  | m |  | mm | mm |
| Story 3 | 9 | Top | 58.574 | 66.683 |
| Story 2 | 6 | Top | 51.152 | 57.297 |
| Story 1 | 3 | Top | 34.874 | 38.194 |
| Plinth Level | 0 | Top | 10.02 | 9.892 |
| Base | -1.95 | Top | 0 | 0 |